LOT 2 Voznesensky adult training center. Voznesensk, st Kibrika 18

The work must be carried out within a part of the existing one-story building. A building without a basement, with an attic. The building is frameless . The walls are brickwork, shellwork stonework. The bearing structures of the floor are wooden beams

All the works specified in the list of works are planned to be performed within these premises, namely: dismantling works, installation of 4 internal wooden doors and 5 windows, including construction of slopes for doors and windows. Repair or replacement of wall plaster; repairs to the lighting system including replacement of distribution panels of the electrical network, sockets and switches; repair to networks of water supply and sewerage, such as replacement of pipes, toilet bowls and sinks, as indicated below. The list of comprehensive works and quantities can be found in Annex C1. Technical Bid.

|  | Dismantling of existing windows. Supply and installation of a metal-plastic window PVC with slopes and all accessories |
| --- | --- |
|  | Dismantling of existing internal doors. Supply and installation of a wooden doors with slopes and all accessories |
|  | Installation of electrical sockets and switches |
|  | Installation and connection of electric LED lamps |
|  | Installation of a circuit breaker from 6 to 25 A |
|  | Installation of electrical panel |
|  | Installation of ceramic tiles, including installation of plinths made of the same material. Installation of a warm floor. Installation of reinforced floor screed. Electrical works. Installation and connection of sanitary ware. Installation of water supply and sewerage. Installation of Armstrong suspended ceiling |
|  | Installation of ceramic tiles, including installation of plinths made of the same material. Installation of a warm floor. Installation of reinforced floor screed. Electrical works. Installation and connection of sanitary ware. Plaster, putty, primer and final painting of walls. Installation of Armstrong suspended ceiling |