LOT 3 Tsnap v. Pervomaiske.

The work must be performed within the first floor of a two-story multi-apartment building. A building with a basement and an attic. The building is frameless . The walls are brickwork. Overlapping prefabricated reinforced concrete round hollow.

All the works specified in the list of works are planned to be performed within these premises, namely: dismantling works, installation of 2 external doors, 8 internal wooden doors, 3 internal PVC doors and 10 windows, including construction of slopes for doors and windows. Repair or replacement of wall plaster; repairs to the lighting system including replacement of distribution panels of the electrical network, sockets and switches; repair to networks of water supply and sewerage, such as replacement of pipes, toilet bowls and sinks, as indicated below. The list of comprehensive works and quantities can be found in Annex C1. Technical Bid.

|  | Dismantling of existing windows. Supply and installation of a metal-plastic window PVC with slopes and all accessories |
| --- | --- |
|  | Dismantling of existing internal doors. Supply and installation of a wooden doors with slopes and all accessories |
|  | Dismantling of existing external doors. Supply and installation of a metal-plastic doors PVC with slopes and all accessories |
|  | Dismantling of existing external doors. Supply and installation of a metal doors with slopes and all accessories |
|  | Installation of ceramic tiles, including the installation of skirting boards made of the same material. Electrical works. Installation and connection of sanitary appliances. Installation of water and sewage pipelines. |
|  | Installation of the floor using a self-leveling mixture. Supply and applying of plaster, putty, primer and finishing paint. Electrical works |
|  | Supply of materials and services for the installation and connection of electric LED lamps |
|  | Supply and installation of electrical panel |
|  | Supply and installation of electrical sockets and switches |