LOT 5. Professional Agrarian Lyceum, p. Nadbuzke.

The work is to be performed within the basement of the dormitory and the workshop.

- basement

The building is frameless. The walls are brickwork. The floors are precast concrete round hollow.

In these premises, it is planned to perform all the work specified in the list of works, namely: dismantling, installation of 1 external doors, 9 internal doors, including the installation of door slopes. Repair or replacement of wall plaster; repairs to the lighting system including replacement of distribution panels of the electrical network, sockets and switches. The list of comprehensive works and quantities can be found in Annex C1. Technical Bid.

|  | Dismantling of existing internal doors. Supply and installation of a wooden doors with slopes and all accessories |
| --- | --- |
|  | Dismantling of existing external doors. Supply and installation of a metal doors with slopes and all accessories |
|  | Installation of the floor using a self-leveling mixture. Supply and applying of plaster, putty, primer and finishing paint. Electrical works |
|  | Supply of materials and services for the installation and connection of electric LED lamps |
|  | Supply and installation of electrical sockets and switches. |
|  | Supply and installation of electrical panel. |
|  | Supply and installation of a circuit breaker from 6 to 25 A and an electrical panel. |

- workshop

The building is frameless. The walls are brickwork. The floors are precast concrete.

In these premises, it is planned to perform all the work specified in the list of works, namely: dismantling, installation of 1 external doors, 9 internal doors, including the installation of door slopes. Repair or replacement of wall plaster; repairs to the lighting system including replacement of distribution panels of the electrical network, sockets and switches; repair to networks of water supply and sewerage, such as replacement of pipes, toilet bowls and sinks, as indicated below. The list of comprehensive works and quantities can be found in Annex C1. Technical Bid.

|  | Dismantling of existing internal doors. Supply and installation of a wooden doors with slopes and all accessories |
| --- | --- |
|  | Dismantling of existing external doors. Supply and installation of a metal doors with slopes and all accessories |
|  | Installation of ceramic tiles, including the installation of skirting boards made of the same material. Electrical works. Installation and connection of sanitary appliances. Installation of water and sewage pipelines. |
|  | Installation of the floor using a self-leveling mixture. Supply and applying of plaster, putty, primer and finishing paint. Electrical works |
|  | Supply of materials and services for the installation and connection of electric LED lamps |
|  | Supply and installation of electrical sockets and switches. |
|  | Supply and installation of electrical panel. |
|  | Supply and installation of a circuit breaker from 6 to 25 A and an electrical panel. |